## Slide 1: Medical Imaging Practicum 2: Monte Carlo Simulation
Jens Maebe, Florence Muller

## Slide 2: PET system
glucose
fluorodeoxyglucose (FDG)

## Slide 3: PET system
e+
e-
18F
γ
γ
few ns
LOR

## Slide 4: PET system

## Slide 5: Monte Carlo simulation of a PET system
Random sampling of the source position
Random sampling of the emission angle
Calculating the gamma photon detection positions (if any)
Generating the sinogram from the detection positions

## Slide 6: Random sampling of the source position
i
r
i
ix
iy
activity map
PDF
CPD

## Slide 7: Random sampling of the emission angle
Azimuthal angle ϕ = [0, 2π]
Polar angle θ = [0, π]
ϕ: uniform sampling
θ: apply correction

## Slide 8: Calculating the detection positions
y
x
z
zmax
zmin

## Slide 9: Generating the sinogram
y
x
z
3D  2D
  Limit polar angle θ to π/2
  Simulate only the central slice of the 3D phantom

## Slide 10: Generating the sinogram
ϕ
d
x
y
d
ϕ
Sinogram coordinates
  Projection angle = emission angle ϕ
  Radial coordinate = distance of LOR to origin

## Slide 11: Exercise 5: Micro-PET Dicom Image
Standard Uptake Value (SUV)
Areas with higher than average uptake will have SUV’s > 1
Higher the SUV, greater the severity (risk) of disease
Compare SUVs to monitor therapy response

## Slide 12: Exercise 5: Dicom into SUV conversion
1. Read the raw pixel values
2. Convert the pixel values into Bq/ml
3. Convert Bq/ml into SUV based on mouse weight and remaining dose. Note that dose should be decay-corrected